## Slide 1: A Multidimensional Approach to Multi-Phase Flow Instrumentation Using Capacitive Sensors
Qussai Marashdeh, Tech4Imaging LLC
Fernando Teixeira, OSU

## Slide 2
ECVT: basics
Capacitance measuring circuitry
Volumetric, i.e. 3D image
ECVT sensor
Computer for image reconstruction
Data & control
ECVT:
  Used for imaging multiphase flows based on dielectric properties of materials, e.g.
  System works in the quasi-static range and is governed by Poisson’s equation:
  where
  : volumetric permittivity distribution
  : electric potential distribution
  : charge density
  Electrodes are excited one at a time and the inter-electrode capacitances are measured.
  The volumetric permittivity distribution is reconstructed from the measured capacitances and visualized as a 3D or 2D image.
Image reconstruction steps in ECVT

## Slide 3
Dual Modality Concept
Processing
Data acquisition and image reconstruction
3D Image 1
3D Image 2
Feature Extraction
ECVT sensor
Dual Modality
  Two 3D images in two independent dimensions
  Feature extraction is enabled through both images
Cap.
DCPT

## Slide 4
Imaging for non-homogeneous flows
Scope:
Non-homogeneous multiphase flows
Example in processing technology: fluidized bed, wet gas separator, gas-oil flow in pipelines.
Solution:
ECVT for one phase
DCPT for another phase
Three Phase Flow
Water

## Slide 5
Phase: DCPT Formulation
<< 1

## Slide 6
ECT and DCPT Behavior
Object Size is held constant but the material property is changed

## Slide 7
ECT
DCPT
ECT and DCPT Comparison with Simulations

## Slide 8
ECT
DCPT
ECT and DCPT Comparison with Simulation 2

## Slide 9
ECT
DCPT
ECT
DCPT
ECT and DCPT Comparison with Simulation 3

## Slide 10
Conventional S
Abs(S)
DCPT Usage of abs(S) - 1

## Slide 11
DCPT Usage of abs(S) - 2
Conventional S
Abs(S)

## Slide 12
Conventional S
Abs(S)
Conventional S
Abs(S)
DCPT Usage of abs(S) - 3

## Slide 13
DCPT Experiment

## Slide 14
DCPT Experiment With abs(S) Matrix

## Slide 15: Multi-Frequency &Three Phase Imaging
Phase C
Cross-section of 3 phase system
A – Air
B – Water
C - Oil
Decomposition of 3 Phases

## Slide 16: Multi-Frequency &Three Phase Imaging
Phase A
Phase C
Cross-section of 3 phase system
A – Air
B – Water
C - Oil
Decomposition of 3 Phases

## Slide 17
Capacitance
Sensor
Data
Acquisition
System
Processing System
Imaging or Quantification
Signal
Current Phase, Capacitance, and Frequency Data
Final Output
Typical ECVT Sensor
Signal Flow
Φ, A, ω, , S,
, , , ,
Multi-Dimensional Approach

## Slide 18
Stage 1
Decision
Stage 2
Measurement
Stage 3
Analysis
Stages of the Multi-Dimensional Approach
Stage 1
Decision
Stage 2
Measurement
Stage 3
Analysis
Stages of the Multi-Dimensional Approach With Feedback
Multi-Dimensional Approach

## Slide 19
Known system parameters (e.g. volume, shape, no. of phases, permittivity, conductivity, etc)
Properties to be measured or imaged (e.g. phase distribution, velocity, temperature)
Are the known parameters and available data from sensor enough to measure the required properties?
Collect data from the sensor
No
Determine which dimensions to use based on linearity and slope of frequency transition points
Yes
ϕ = Displacement Phase Current
A = Current Amplitude or Capacitance
ω = Excitation Frequency
n = level of derivative
Stage 1 of the Multi-Dimensional Approach
Stage 2
Φ, A, ω, , S,
, , , ,
Estimate new system parameters
X, Y, Z = spatial axes
t = time axis
f = frequency axis
S = Geometry of the smart sensor
Multi-Dimensional Approach

## Slide 20
Collect data according to the optimal dimensions determined to use in Stage 1
Calibrate DAS according to known or estimated system parameters
Generate system of equations
Solve system of equations with collected data from Stage 2
Generate images or quantified data of the properties to be measured
Stage 3
Stage 1
Stage 2
Stage 2 of the Multi-Dimensional Approach
Stage 3 of the Multi-Dimensional Approach
Multi-Dimensional Approach

## Slide 21: Conclusion
Multi-dimensional imaging using capacitance sensors is based on exploring independent dimensions in measured signal from the same sensors.
Additional dimensions enable more degrees of freedom to measure multiphase flow system.
In addition; capacitance data, phase information, frequency information, and derivatives are used to imaging multiple phases simultaneously.